## Slide 1: Guides
Mads Bertelsen, ESS DMSC

## Slide 2: Overview
Description of phase-space and propagation
Reflectivity
McStas coordinate system
Popular components
    Guide_gravity
    Elliptic_guide_gravity
Breaking line of sight
Example
Exercise

## Slide 3: Beam propagation in free space
z
x
𝜂x
v
Divergence

## Slide 4: Beam propagation in free space
z
x
𝜂x
v
Divergence

## Slide 5: Beam propagation in guide
z
x
𝜂x
v
Divergence

## Slide 6: Beam propagation in guide
z
x
𝜂x
v
Divergence

## Slide 7: Reflectivity curves
Reflectivity, super mirror, reflectivity curve
𝛳
ki
kf
q
2𝛳

## Slide 8: Reflectivity curves in McStas
= 0 W = 0
Only m matters
Better mirrors available today
Slope:
Cutoff:
McStas standard model
McStas fitted model

## Slide 9: Guide placement in McStas
The center is the front of the guide element
Tip on guide end arm
COMPONENT Source AT (0,0,0) ABSOLUTE
COMPONENT Guide(length=A) AT (0,0,2) RELATIVE Source
COMPONENT Arm AT (0,0,A) RELATIVE Guide

## Slide 10: Popular guide components: Guide_gravity
Typical guide component with gravity
Many additional features, channels, fermi chopper, …
h2
w1
h1
w2
l

## Slide 11: Popular guide components: Guide_gravity
Typical guide component with gravity
Many additional features, channels, fermi chopper, …
h2
w1
h1
w2
l

## Slide 12: Popular guide components: Guide_gravity
Typical guide component with gravity
Position
Wavelength
Divergence
Position - Divergence

## Slide 13: Popular guide components: Elliptical_guide_gravity
Useful for elliptic and parabolic guide geometries, focusing, ballistic, coating distribution, …
linxw linyh
l
loutxw loutyh
xwidth and yheight at DimensionsAt = ”entrace” , ”mid” or ”exit”

## Slide 14: Popular guide components: Elliptical_guide_gravity
Useful for elliptic and parabolic guide geometries, focusing, ballistic, coating distribution, …
Position
Wavelength
Divergence
Position - Divergence

## Slide 15: Comparison: Guide_gravity and Elliptic_guide_gravity
Guide_gravity
Elliptic_guide_gravity
Position
Wavelength
Divergence
Position - Divergence
Position
Wavelength
Divergence
Position - Divergence

## Slide 16: Breaking line of sight
Importance of breaking line of sight, ways of doing so, …

## Slide 17: Breaking line of sight
Bender component or many straight sections
Mind the gaps, avoid overlap

## Slide 18: A guide design
To be continued in guide optimization talk

## Slide 19: Guide exercise
Insert a guide and use a definition parameter to set the length
Use monitors to see the resulting beam
    PSD_monitor (spatial distribution)
    Divergence_monitor (divergence distribtuin)
    L_monitor (wavelength distribution)
    Posdiv_monitor (acceptance diagram)
Extra tasks:
    Scan guide length
    Introduce a gap by using two guide components
Solution on github, use if you are stuck